## Equipment_Master
Equipment_ID | Equipment_type | Department | Manufacturer | Model | Installation year | Criticality | Status
EQ001 | Dialysis Machine | Renal Unit | Fresenius | 4008S | 2021 | Critical | Active
EQ002 | Dialysis Machine | Renal Unit | B. Braun | Dialog+ | 2020 | Critical | Active
EQ003 | Dialysis Machine | Renal Unit | Fresenius | 5008S | 2022 | Critical | Active
EQ004 | Patient Monitor | ICU | Philips | IntelliVue MX450 | 2023 | Critical | Active
EQ005 | Patient Monitor | ICU | GE Health | CARESCAPE B650 | 2021 | Critical | Active
EQ006 | Patient Monitor | ICU | Mindray | BeneVision N17 | 2022 | Critical | Active
EQ007 | Auto Clave | Theatre | Getinge | HS66 | 2020 | Critical | Active
EQ008 | Auto Clave | Theatre | Tuttnauer | 3870EA | 2021 | Critical | Active
EQ009 | Auto Clave | Theatre | MELAG | Vacuklav 44 B+ | 2022 | Critical | Active
EQ010 | Oxygen Plant | Engineering | OGSI | Oxygen PSA 1 | 2019 | Critical | Active
EQ011 | Oxygen Plant | Engineering | Novair | Oxygen PSA 2 | 2022 | Critical | Active
EQ012 | Infusion Pump | General Ward | B. Braun | Infusomat Space | 2023 | Critical | Active
EQ013 | Infusion Pump | General Ward | Mindray | Benefusion VP5 | 2022 | Critical | Active
EQ014 | Ventilator | ICU | Drager | Sarina 300 | 2021 | Critical | Active
EQ015 | Ventilator | ICU | Hamilton | C1 | 2020 | Critical | Active

## Maintainace_Work_Orders
Work_Order | Maintainance_Type | Fault_or_Service | Event_Category | Downtime_Hours | Maintainance_Cost_KES | Technician_ID | Work_Order_Status | Repeat_Failure | Repair_Days | Maintainace_Date | Equipment_ID
WO001 | Preventive | Routine Service | Scheduled | 2 | 4500 | TECH001 | Completed | No | 1 | 2026-03-01 | EQ001
WO002 | Preventive | Calibration | Calibration | 2 | 4000 | TECH002 | Completed | No | 1 | 2026-05-01 | EQ004
WO003 | Preventive | Routine Service | Scheduled | 3 | 6000 | TECH003 | Completed | No | 1 | 2026-07-01 | EQ007
WO004 | Preventive | Routine Service | Scheduled | 4 | 12000 | TECH004 | Completed | No | 1 | 2026-10-01 | EQ010
WO005 | Preventive | Routine Service | Scheduled | 2 | 3000 | TECH005 | Completed | No | 1 | 2026-12-01 | EQ012
WO006 | Corrective | Pump Failure | Unexpected Breakdown | 16 | 24000 | TECH001 | Completed | No | 8 | 15/1/2026 | EQ002
WO007 | Corrective | Battery Failure | Unexpected Breakdown | 6 | 3500 | TECH002 | Completed | No | 4 | 18/1/2026 | EQ005
WO008 | Corrective | Temperature Error | Unexpected Breakdown | 10 | 14500 | TECH003 | Completed | No | 6 | 20/1/2026 | EQ008
WO009 | Corrective | Ventilator Alarm | Unexpected Breakdown | 9 | 9000 | TECH001 | Completed | No | 5 | 22/1/2026 | EQ014
WO010 | Corrective | Ventilator Alarm | Unexpected Breakdown | 11 | 10500 | TECH001 | Completed | No | 6 | 25/1/2026 | EQ015
WO011 | Preventive | Calibration | Calibration | 3 | 7000 | TECH001 | Completed | No | 3 | 2026-02-02 | EQ003
WO012 | Corrective | Sensor Failure | Unexpected Breakdown | 7 | 5500 | TECH002 | Completed | No | 4 | 2026-04-02 | EQ006
WO013 | Preventive | Calibration | Calibration | 2 | 5000 | TECH003 | Completed | No | 2 | 2026-06-02 | EQ009
WO014 | Preventive | Perfomance Check | Scheduled | 3 | 6500 | TECH001 | Completed | No | 3 | 2026-08-02 | EQ015
WO015 | Corrective | Leakage | Unexpected Breakdown | 12 | 11000 | TECH001 | Completed | No | 7 | 2026-11-02 | EQ001